## Reaction Set-up
Project ID:
Experiment Title: | 20221122 Run 1 15F50F 16s
Experiment Aim: | To test water for 16s
Date: | 2022-11-22
Operator: | Bachana
Link:
Equipment
Description | Asset Number (Internal) | Asset Number (GIS / Serial Number) | Maintenance Due Date | Location
-20°C Freezer | 20FR-MM-1 | 9020026 | 2022-05-07 | Master Mix Room (MM)
4°C Refrigerator | 4FRG-MM-1 | 13030253 | 2022-05-06
Pipette - 1000 µL | P1000-MM-2 | KJ09437 | 2022-12-08
Pipette - 200 µL | P200-MM-2 | C006993455 | 2022-05-06
Pipette - 20 uL | P20-MM-2 | HH93920 | 2022-12-09
Pipette - 10 uL | P10-MM-2 | C006992856 | 2022-05-07
Pipette - 1000 µL | P1000-TA-4 | C006992352 | 2022-05-06 | Template Addition Room (TA)
Pipette - 200 uL | P200-TA-4 | C006993052 | 2022-05-06
Pipette - 20 uL | P20-TA-4 | OZ00190 | 2022-05-06
Pipette - 10 uL | P10-TA-4 | C006992852 | 2022-05-06
Real-Time PCR System, CFX96 Touch | CFX-INS-2 | BR200728 | 2021-05-15 | Instrument Room
Microplate Centrifuge | SP-BIO-NPC-1 | TT-E14-1132 | NA
Reagents
Description | Vendor | Catalog Number | Lot Number | Date of Expiry /Manufacture
Leg_mipT1_F26 | IDT | N/A | 105977862 | 2022-03-10
Leg_mipT1_R23 | IDT | N/A | 105977863 | 2022-03-10
Leg_mip_P1_FAM | IDT | N/A | 105995262 | 2022-03-14
Legio_16s_F35 | IDT | N/A | 105954788 | 2022-03-03
Legio_16s_R23 | IDT | N/A | 105848683 | 2022-02-11
Legio_16s_R24 | IDT | N/A | 105848684 | 2022-02-11
Leg_16S-P2 HEX | IDT | N/A | 105976752 | 2022-03-14
Leg_wzm_F4 | IDT | N/A | 105845947 | 2022-02-10
Leg_wzm_R9 | IDT | N/A | 105845962 | 2022-02-10
Leg_wzm_P2-TX | IDT | N/A | 106374997 | 2022-06-22
2x SensiFAST Probe No ROX Mix | MERIDIAN | NA | SF593-B092150 | DOE: MAR 2023
Nuclease Free Water | QIAGEN | 163041698 | 1039498 | NA
Samples
Description | Vendor | Catalog Number | Lot Number | Date of Expiry /Manufacture
Legionella Pneumophila S14 100kx | ATCC | 43703 | 70036189 | 2022-01-20
Legionella Pneumophila S1e2 | ATCC | 33152DQ | 70036289 | 2022-03-08
Consumables
Description | Vendor | Catalog Number
Pipette Tips - 1000 µL | Axygen | TF-1000-L-R-S
Pipette Tips - 200 µL |  | TF-200-L-R-S
Pipette Tips - 20 µL |  | TF-20-L-R-S
Pipette Tips - 10 µL | Axygen | TF-300-L-R-S
Microtubes, 1.5 mL |  | MCT-150-C
Microtubes, 2.0 mL |  | MCT-200-C
Hard-Shell 96-Well PCR Plates, Low Profile, Thin Wall, Skirted, White/Clear | Bio-Rad | HSP9601
Microseal 'B' seal; Seal | Bio-Rad | MSB1001
Master Mix Room
Primer dilution
Reagents | Stock (uM) | Final (uM) | Dilution Factor | Amount of Primer | Amount of Water/TE | Final Volume (ul)
Primers | 100 | 10 | 10 | 10 | 90 | #REF!
Legionella 3plex: MipT1F26R23P1 16SF45R27P2 WZMF4R9P2
Component |  | Per Reaction (uL) | 34
2x SensiFAST Probe No ROX Mix |  | 10 | 340
Leg_16s (B2)_F45 (10uM) |  | 0.5 | 17
Leg_16s (B2)_R27 (10uM) |  | 0.5 | 17
Leg_16s (B2)_P2_HEX (10uM) |  | 0.5 | 17
H2O |  | 3.5 | 119
Total |  | 15 | 510
Template Addition Room
Add 5uL extracted samples
- Add 15µL MM + 5uL template into respective wells in accordance to the layout below
Cycling Parameters
Step | Stage | Number of Cycles | Temperature (°C) | Time (Min : Sec) | Acquiring
Hold | PCR Initial Heat Inactivation | 1 | 95 | 2:00 | -
Cycling | Denaturation | 45 | 95 | 5 sec | -
| Annealing + Extension |  | 60 | 30 sec | Acquiring to all channels

## Plate Layout
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 5ml Elysis | 5ml Elysis |  | 5ml LB | 5ml LB | [5 empty] | 16s NTC | 16s NTC
B | 10ml 15F Elysis | 10ml 15F Elysis |  | 10ml 15F LB | 10ml 15F LB
C | 10ml 50F Elysis | 10ml 50F Elysis |  | 10ml 50F LB | 10ml 50F LB
D | 50ml Elysis | 50ml Elysis |  | 50ml LB | 50ml LB
E | 100ml Elysis | 100ml Elysis |  | 100ml LB | 100ml LB
F | 200ml Elysis | 200ml Elysis |  | 200ml LB | 200ml LB
G | 300ml Elysis | 300ml Elysis |  | 300ml LB | 300ml LB
H

## Run Analysis
Project ID:
Experiment Title: | 20221122 Run 1 15F50F 16s
Experiment Aim: | To test water for 16s
Date: | 2022-11-22
Operator: | Bachana
Link:
Instrument Information
Description |  | Asset Number (Internal)
Real-Time PCR System, CFX96 Touch |  | CFX-INS-2
Analysis Settings
Target Channel: | FAM, HEX, TEX
Threshold (CFX): | 50
Results and Run Analysis
Raw Amplification Plot (Yellow (HEX))
Well | Sample | Ct in HEX channel
A01 | 5ml Elysis | 32.14
A02 | 5ml Elysis | 31.96
A04 | 5ml LB | 32.94
A05 | 5ml LB | 33.2
A11 | 16s NTC | N/A
A12 | 16s NTC | N/A
B01 | 10ml 15F Elysis | 31.87
B02 | 10ml 15F Elysis | 32.03
B04 | 10ml 15F LB | 33.1
B05 | 10ml 15F LB | 33.02
C01 | 10ml 50F Elysis | 31.02
C02 | 10ml 50F Elysis | 30.94
C04 | 10ml 50F LB | 32.56
C05 | 10ml 50F LB | 32.15
D01 | 50ml Elysis | 29.82
D02 | 50ml Elysis | 29.86
D04 | 50ml LB | 31.84
D05 | 50ml LB | 31.89
E01 | 100ml Elysis | 30.87
E02 | 100ml Elysis | 31.08
E04 | 100ml LB | 37.29
E05 | 100ml LB | 35.92
F01 | 200ml Elysis | 30.65
F02 | 200ml Elysis | 30.41
F04 | 200ml LB | 32.82
F05 | 200ml LB | 32.89
G01 | 300ml Elysis | 30.36
G02 | 300ml Elysis | 30.62
G04 | 300ml LB | 31.69
G05 | 300ml LB | 31.43